ESCOM SCIENCE EXPO - PHASE 1

Scientific Validation & Literature Review

Vibration-Based Assistive Technology for Deaf & Hearing-Impaired Safety

Category: Biomedical & Medical Sciences (Human Physiology - Audiology)  |  26 July 2026

# Executive Summary

This review tests the project's three foundational pillars against peer-reviewed literature and the WHO World Report on Hearing (2021). Two of three pillars are directly supported; all require precise phrasing to survive scrutiny from audiologists and judges. Two claims must be corrected before print: the '600,000 SASL users' figure and any framing of the 20% statistic as 'severe/permanent' loss. The hardware architecture is acoustically sound, and the review surfaces a design strength worth foregrounding: directionality is correctly assigned to the tactile channel, which sidesteps the binaural cross-talk that limits bone conduction.

| Project Claim | Verdict | Basis |
| --- | --- | --- |
| ~12 million (approx. 20%) with hearing loss | SUPPORTED (reframe) | Valid only as 'any degree, mild-total' per WHO; not 'severe/permanent.' |
| ~600,000 SASL users | CONTESTED | 600k is the Deaf population; SASL-user counts range 12k-600k+. |
| 4-5 million rely on other communication | SUPPORTED | Consistent with ~4M with hearing disability. |
| Heightened emergency risk (auditory-only alerts) | SUPPORTED | Well documented; alerting infrastructure is auditory by default. |
| Responders rely on written notes absent interpreters | SUPPORTED (caveat) | True, but written English is not SASL fluency; notepad is a fail-safe. |
| Tactile cuff + mastoid BC co-location is viable | SUPPORTED (nuance) | No inter-channel interference; cross-talk limits bilateral BC only. |

# Pillar 1 - South African Hearing-Impairment Demographics

## The 12 million / 20% claim

The WHO World Report on Hearing (2021) establishes that 1.57 billion people - one in five globally (20.3%) - lived with some degree of hearing loss in 2019, projected to reach 2.45 billion by 2050. Applying this 1-in-5 prevalence to South Africa's ~60 million population yields the ~12 million figure, which also appears in the World Hearing Report and local disability sources (NCPD), broken down as ~9.24M mild, ~2.1M moderate, and ~124,000 profound.

Caveat (mandatory reframe): Africa Check found the '20%' statistic misleading when described as 'significant and permanent' loss. That phrasing originated from a conflation of '20% of the disabled population' (2001 Census) with '20% of the total population.' The 2011 Census measured only 0.7% with severe hearing difficulty and 2.9% with mild-to-moderate difficulty (ages 5+). The 20% figure is defensible only as WHO's 'any degree, mild to total' prevalence - never as disabling or permanent loss.

## SASL users vs. Deaf population

The '600,000 SASL users' claim does not hold. 600,000 is the estimated Deaf population; SASL-user counts are highly contested: Census 2022 records only ~12,400 (0.02%), the 2011 Census ~255,000 (0.5%), and other estimates range from 700,000 to 2 million. SASL became South Africa's 12th official language on 19 July 2023.

- Recommended phrasing: '~600,000 Deaf South Africans, with an estimated 4-5 million relying on non-signed communication.'

- The '4-5 million' figure is order-of-magnitude consistent with the ~4 million South Africans carrying a hearing disability in the World Hearing Report.

# Pillar 2 - Emergency-Response Vulnerability

VERDICT: SUPPORTED. Emergency alerting infrastructure is built on an auditory-first assumption - smoke alarms, sirens, loudspeaker instructions, and verbal 911/112 exchanges. Deaf and hard-of-hearing individuals are structurally excluded from these channels, creating documented gaps in evacuation orders and life-critical warnings (e.g., not waking to a 3 a.m. smoke alarm). This directly justifies the vibrating/tactile alert function of the ear cuffs.

## Justifying the physical notepad

When SASL interpreters are unavailable during active crisis response, first responders fall back on written communication. This validates the notepad-and-pen in the Safety Kit as a fail-safe. Include one honest caveat for the audiologist panel:

- For culturally Deaf users whose first language is SASL, written English proficiency is often limited. Written notes are therefore a fail-safe, not a full substitute for interpretation - which is precisely why the kit pairs the notepad with a highly visual, graphical user manual.

# Pillar 3 - Mechanical & Acoustic Viability (Cross-Talk)

## Why the two channels do not interfere with each other

The cuff's tactile output is somatosensory (felt, non-auditory), while the mastoid/upper-neck pad delivers bone-conducted audio (heard). Because they stimulate two different sensory systems, co-locating them produces no acoustic interference between the tactile and bone-conduction channels. The claim of clean co-location is scientifically valid.

## Cross-talk is real - but only between the left and right BC transducers

The literature is unambiguous that bone conduction exhibits low transcranial attenuation (TA): a signal at one mastoid crosses the skull to the contralateral cochlea with near-0 dB attenuation below ~1 kHz (rising to ~5-20 dB at higher frequencies). A single BC source therefore stimulates both cochleae, and this cross-head transmission is the principal factor limiting binaural performance of bilateral BC devices. Placement closer to the cochlea/mastoid helps at high frequency (TA up to ~25 dB at 4 kHz) but does not eliminate the effect at low frequency.

## The design implication (foreground this to judges)

Because bilateral bone conduction cannot reliably encode direction (cross-talk collapses interaural cues), the architecture correctly assigns spatial/360-degree awareness to the tactile channel, where each cuff stimulates its own ear cartilage discretely with no cross-talk, and reserves bone conduction for audio content/alerts, where cross-talk is tolerable. The system sidesteps the known limitation of binaural BC rather than fighting it.

- Do not claim bone conduction provides directional or binaural localization.

- Claim the tactile cuffs provide directionality; bone conduction provides audio content. This framing is both accurate and a competitive strength.

# Corrections Required Before Print

- Replace '600,000 SASL users' with '~600,000 Deaf South Africans.'

- Frame the 20% / 12M statistic strictly as WHO 'any degree of hearing loss (mild to total),' never 'severe' or 'permanent.'

- State that bone conduction carries audio; tactile cuffs carry directionality. Avoid claiming binaural localization via BC.

- Note the written-English caveat when justifying the notepad, paired with the visual manual.

# References

WHO - World Report on Hearing (2021), Executive Summary - https://cdn.who.int/media/docs/default-source/documents/health-topics/deafness-and-hearing-loss/world-report-on-hearing/wrh-executive-summary.en.pdf

WHO - Deafness and hearing loss (fact sheet) - https://www.who.int/news-room/fact-sheets/detail/deafness-and-hearing-loss

UN News - Untreated hearing loss threatens nearly 2.5 billion people (WHO) - https://news.un.org/en/story/2021/03/1086212

Africa Check - Do 20% of South Africa's population have hearing loss? - https://africacheck.org/fact-checks/reports/do-20-south-africas-population-have-hearing-loss

NCPD - Prevalence and impact of hearing loss in South Africa - https://ncpd.org.za/prevalence-and-impact-of-hearing-loss-in-south-africa/

Wikipedia - South African Sign Language (census/user estimates) - https://en.wikipedia.org/wiki/South_African_Sign_Language

PanSALB - Concern regarding SASL statistics - https://www.pansalb.org/pansalb-expresses-concern-regarding-south-african-sign-language-statistics-2/

WHO AFRO - Status report on ear and hearing care in the African Region - https://www.afro.who.int/publications/status-report-ear-and-hearing-care-who-african-region

Bellman & Symfon - Emergency preparedness for Deaf & Hard of Hearing - https://us.bellman.com/blogs/news/emergency-preparedness-for-deaf-and-hard-of-hearing-people

Civil Defense Atlas - Hearing impairment emergency communication - https://www.civildefenseatlas.com/guides/disability-and-accessibility/hearing-impairment-emergency-communication

PubMed - Transcranial attenuation in bone conduction stimulation - https://pubmed.ncbi.nlm.nih.gov/34334219/

ScienceDirect - Analysis of cross-talk cancellation of bilateral bone conduction - https://www.sciencedirect.com/science/article/abs/pii/S037859552300093X

PMC - Binaural hearing via bilateral bone conduction stimulation - https://pmc.ncbi.nlm.nih.gov/articles/PMC11582620/

Prepared for internal Expo documentation. Figures reflect sources current as of July 2026; census/user estimates for SASL remain actively disputed and should be cited with their source and year.